Word count: 5871

Estimation of Body Composition: Basic Assumptions

Alan D. Martin

School of Human Kinetics

University of British Columbia

Vancouver, B.C.

Canada V6T 1Z1

Methods for quantifying the constituents of the human body date back to the early part of this century.  Though European anatomists of the nineteenth century compiled data on tissue masses from dissections, no in vivo methods existed or were even thought useful.  Perhaps the first suggestion of their medical utility was put forward by Spivak in 1915 who measured the specific gravity of a man before and after a weight gain of ten pounds (18).  He noted:

"When the man weighed 176 pounds, he was heavier than water; now that he weighs 10 pounds more he is lighter than water.  Since the specific gravity of all tissues except fat is higher than water, if the increase had been due to the enlargement of the muscular or bony tissues his specific gravity would have been the same or higher than before.  But the specific gravity has been found lower and therefore it is evident that the increase in his bulk was primarily due to an increase in his fatty constituents.  Such a procedure is of diagnostic value."

However, quantification of the body's fat mass eluded him.  It was left to Albert Behnke, a U.S. Navy researcher, to refine the underwater weighing method by correcting for residual lung volume and, more importantly, by using the resulting body density in a simple two-component model to estimate the body's fat content (2)  This model, in which the body is divided into a

fat component and a fat-free component, has been the cornerstone of body composition analysis ever since.  A quite different approach had been proposed by Matiegka some twenty years before Behnke's contribution.  His was a four-component anatomical model consisting of adipose tissue, muscle and bone, all estimated by anthropometry, and a residual component estimated by subtracting these three from body mass (11).  It is important to appreciate the difference between the anatomical model of Matiegka and Behnke's chemical model, in particular to note that Behnke's fat component is not the same as Matiegka's adipose tissue component.  Unfortunately, the term fat is used ambiguously in the literature to refer to both lipid and adipose tissue; here it is used only in the sense of lipid.

Virtually all techniques that estimate body fat are based on the simple two-component model of the human body: the division into a fat mass and a fat-free mass.  This is a chemical partition in that the fat component includes all of the body's lipid, while the fat-free mass (FFM) contains everything else.  This highlights the fact that the determination of the amount of fat in the body yields a number whose anatomical or physiological usefulness is unclear, since it amalgamates fat from such physiologically different sources as the brain, the skeleton and adipose tissue.  While this may not be a problem in cases of obesity, it is important in the measurement of very lean people, such as athletes, whose non-adipose fat mass may be greater than their adipose fat mass.  Behnke attempted to resolve this difficulty by incorporating a specified amount of

'essential' fat into the FFM and calling this the 'lean body mass' (LBM).  Initially the mass of essential fat was proposed to be equal to 10% of the FFM.  Data to support this were sparse; only five dissections have provided direct measurement of the body's essential (non-adipose) fat (9), and as a percentage of the FFM this varied from 4.3% to 15.2%.  Later workers revised the figure of 10% down to as low as three or four percent, despite the fact that no further dissection data had been reported.  However, largely because of the uncertainty in the amount of essential fat, the concept of lean body mass has not proved useful.   It should also be noted that some researchers use the terms FFM and LBM interchangeably, a practice that leads to further confusion.

With the refinement of the underwater weighing method, densitometry became the 'gold standard' for fat determination, a situation that has only recently been challenged.  It may therefore come as a surprise to many to discover that the method has never been validated in humans.  Validation of a method requires a comparison of the estimated value with the true value.  Unfortunately, there are only eight cadavers for whom body fat has been measured directly, and none of these was subjected to an indirect technique (such as underwater weighing or anthropometry) for comparison.  This lack of validation has several important consequences.  First, it is impossible to know the accuracy of fat estimates.  Since most in vivo methods are calibrated against densitometry, the accuracy of these methods is not known.  Typically, results obtained by two indirect

methods are compared with each other, a poor substitute for validation.  Following from this, it is difficult to determine the relative merits of the different methods.  Less obvious is the presence of assumptions that underlie these methods.  Methodological investigations to date have focused more on improving and standardizing measurement technique and developing new methods than on a critical examination of the basic assumptions of the important methods.

The Three Levels Of Fat Estimation Methods

It is helpful to divide the methods for estimating body fat into three categories, based on how they are derived and the assumptions necessary for their use. At the first level is dissection which directly yields tissue masses, and also lipid masses if ether-extraction is carried out, but only the previously-mentioned eight adult cadavers have been measured in this way.  For all practical purposes in vivo methods must be used.  Level II methods are indirect in that they measure some quantity other than fat, such as body water or body density, and make quantitative assumptions about the relationship between the measured quantity and the amount of fat.  Three methods fall naturally into this category, and they all rely in some way on the constancy of the FFM.  The estimation of percent fat from total body water (TBW) is carried out as follows.  TBW is measured by a tracer technique.  This involves the ingestion, or injection, of a known quantity of a substance that is totally

miscible with all the body's water, tritiated water being the common choice.  After an appropriate time to permit equilibration, a urine or blood sample is taken and its volume and the content of tracer in it are measured.  TBW can then be calculated by simple proportionality.  By definition, all the body's water, i.e., the measured TBW, must be in the FFM.  If it assumed that the FFM has a constant fraction of water, then the FFM can be calculated from TBW and the fat mass calculated by subtraction of the FFM from body mass.  The main error lies in the use of a constant for the water fraction of the FFM.  The standard assumption is that water makes up 73.2% of the FFM.  This value was derived primarily from data on guinea pigs.  The only available data in humans (eight dissections) gave a mean of 74.9% but the standard deviation of 4.9% reveals that this quantity was far from constant.  While TBW may prove useful as part of a multi-component model for body fat assessment, its use alone for percent fat estimation cannot be justified.  For a detailed analysis and justification of this conclusion, the interested reader is referred to the excellent review by Sheng and Huggins, who concluded that "the use of the equation 100 - %TBW/0.732  for the estimation of fat can at best be a gross approximation" (15).

A second important level II method is the use of a whole body counter.  This is based on the fact that all naturally-occurring potassium contains a known, constant fraction of the isotope 40K.  The amount of  40K in the body can be measured using a whole body counter that contains detectors that measure

its emitted gamma radiation.  This enables estimation of the total amount of potassium in the body.  If it is then assumed that the FFM has a constant fraction of potassium, then the FFM can be easily calculated, and by difference from body mass, the fat mass (5).  This technique has more historical than practical value since few whole-body counters exist and it is unlikely that any more will be built as they are expensive.  A more serious indictment of the method is that little is known about the amount or constancy of the potassium fraction of the FFM.  In the six cadavers for which total body potassium was empirically determined, the potassium content ranged from 27.9 to 72.6 mE/kg of FFM.  Even after dropping the two extreme values on the grounds that the cadavers were abnormal, the range is still 66.5 to 72.6 mE/kg of FFM.  The value of 68.1 mE/kg used by most researchers is based on a subgroup of three of the six cadavers.  The tenuous quantitative basis for the method is undermined still further by the known variability of this 'constant' during growth and aging, as well as between the sexes.

Densitometry

By far the most important level II method is the estimation of body fat from body density.  Like the other level II methods, densitometry is based on several quantitative assumptions.  The assumptions arise from a straightforward analysis of the two-component model.  The following equation can be readily derived:

F  =   \B\BC\[(\F( 100df dffm ,dffm - df)) \F(1,D)  –  \B\BC\[(\F( 100df  ,dffm - df))

(1)

where F is percent fat, df is the density of fat, dffm  is the density of the FFM, and D is whole-body density, all in g/ml.  The density of fat has been measured and is known to be reasonably constant at about 0.900 g/ml.  D can be accurately measured by underwater weighing with an appropriate correction for residual lung volume.  The density of the FFM has never been measured and because of its non-anatomical nature such measurement is almost impossible; its value must therefore be estimated.  A value of 1.0939 g/ml was estimated for the specific gravity of the eviscerated guinea pig and contributed to Behnke's estimate of 1.100 g/ml for humans.  The detailed origin of this value is obscure but Keys and Brozek, in their comprehensive review of fat estimation, described it as a "very rough 'armchair' computation from old anatomical data".  Given the limited nature of the data available to Behnke, it is remarkable that this value remained in almost universal use for fifty years.  Substituting 1.100 for dffm in equation (1) results in the well-known Siri equation for percent fat (16):

F  =  \F(495,D)  -  450

Normal variability in the fat-free density

It can be seen that measured whole-body densities greater than 1.100g/ml will result in negative values for estimated percent fat.  This is a simple consequence of the assumption of 1.100g/ml for dffm.  Measured body density can never be less than dffm  since at 0%fat, D must equal dffm .  Negative values can only arise in lean people for whom dffm is greater than the assumed value of 1.100g/ml.  Such impossible values have been reported in the literature, though infrequently, and some of these arise from measurement error (9) .  It is also possible that many observed negative values have never been published, because of their implication of measurement error.  There are also less obvious signs of error in the assumptions.  Even positive values for estimated fat that are lower than about 5% are suspect because this is approximately the amount of essential fat in the body.  Such errors again arise in subjects for whom dffm is greater than the assumed value of 1.100g/ml.  If there are subjects for whom dffm is greater than 1.100g/ml, then there must be other subjects, for example those with low bone density, for whom dffm is less than 1.100g/ml, and whose fatness will therefore be underestimated. However, these errors will not be signaled by impossible negative fat values and, in the absence of validation, may therefore pass undetected.  A closer inspection of equation 1 reveals that the calculated percent fat value is very sensitive to small changes in dffm .  This is because the denominator of the right-hand side of the equation consists of the difference between dffm  and df , two numbers that are quite close in value.  As an example, a 2%

change in dffm  results in an 11% change in dffm - df.  It is therefore important to know the normal variability of dffm , a question that has not received adequate attention in body composition analysis.

Since dffm  has never been measured directly, the literature contains only values that have been estimated in various indirect ways, and even then there are few of these.  Individual estimates range from 1.057 g/ml for an osteoporotic subject to 1.189 g/ml for an osteosclerotic, and include an estimate of 1.062 g/ml for the fat-free density of an elderly man.  Comparing estimated fat by underwater weighing and whole body 40K counting, Womersley et al. (19) estimated fat-free density in five groups of subjects and suggested mean values ranging from 1.087 g/ml for older obese women to 1.105 g/ml for young sedentary men.  Since 40K is found largely in muscle, differences in bone density would not be detected in this approach and their suggested range would almost certainly be an underestimate.  Based on limited anatomical data, Bakker and Struikenkamp (1) estimated a standard deviation for the fat-free density of 0.01 g/ml, and conceded that available data can "merely suggest an order of magnitude for the inter-individual variation that may be expected".

For dffm to be constant, its components must be of constant density and they must be present in constant proportions.  This must hold true both across individuals and within one individual over a period of time; a situation that clearly does not exist.  We have carried out complete dissections on 12 male and 13

female older adults (4).  We did not use ether extraction to determine fat, but our data show a wide range in the composition of the adipose tissue-free mass (ATFM), from 41.9% to 59.4% for muscle, and from 16.3% to 25.7% for bone.  Since these subjects had a mean age of 76 years, and none of them was unusually mesomorphic, this probably underestimates the normal range.  If athletes from a wide variety of sports were included, it is likely that these ranges would be even greater.  Thus it is likely that there are wide variations in the proportions of the constituents of the FFM.

There are also large variations in the density of the FFM resulting from variability in the densities of the components of the FFM, notably bone.  We have investigated the variability in dffm  by analyzing the FFM as a three-component model consisting of fat-free bone, fat-free muscle and a fat-free residual (9).  To simplify the analysis it was assumed, based on limited empirical evidence, that the densities of fat-free muscle and the fat-free residual are essentially constant.  This assumption will underestimate the variability in dffm .  The model was then analyzed to quantify the effects of variability in fat-free bone density, the fraction of fat-free muscle, and the fraction of fat-free bone in the FFM.  Changes in the muscle fraction of the FFM had little effect on dffm  , mainly because the density of fat-free muscle is about 1.07 g/ml, a value quite close to dffm.  Of interest here is that high values for the fraction of fat-free muscle will serve to reduce dffm .  Changes in the fraction of fat-free bone in the FFM have a somewhat greater effect, but

it is the normal variability in fat-free bone density that has the most profound effect on dffm.  From this analysis it was concluded that the standard deviation of dffm  is about 0.016 g/ml.

Effect of Changes in dffm on Percent Fat Estimation

The effects of a standard deviation of 0.016 g/ml for dffm  on fat estimation can be readily calculated.  For any given value of whole-body density, percent fat can be calculated for several different values of dffm (Table 1).  For a whole body density of 1.06 g/ml, a shift of 0.016 g/ml either side of 1.100 g/ml results in a percent fat estimate ranging from 11.1% to 22.0%.  Clearly these errors are unacceptably large.

Body Water and dffm

Since all the body's water is in the FFM, any change in water content, as for example by wrestlers trying to reach a lower weight category, will affect the composition and density of the FFM.   Though some believe that this is the major source of variation in dffm , it can readily be shown that this is not the case.  A 70 kg man with 15% body fat has 10.5 kg of fat and a FFM of 59.5 kg.  If his dffm  is 1.100g/ml, and df  is 0.900g/ml, the volumes of the fat mass and FFM can be calculated and added to give total body volume.  This, in conjunction with body mass, gives his body density, D, to be 1.0645g/ml.  If he now ingests

five liters of water, his fat mass remains unchanged and his body mass and FFM increase by 5 kg.  Fat volume does not change but the volume of the FFM increases by 5 liters.  The new body volume can then be calculated and body density is seen to decrease to 1.060g/ml.  With no error in the hydrostatic weighing method, the application of the Siri formula gives a value of 17.0% fat, 2% greater than the actual value in the normally hydrated state.  It should be noted that the addition of the 5 litters of water actually reduces his fatness from 15% to 14%, so the error is 3% fat.  This error arises from the failure of the Siri equation to allow for the fact that with the addition of the water his dffm has fallen to 1.092g/ml.  Similarly, with 5 liters of dehydration, his dffm rises to 1.110g/ml, his body density rises to 1.070g/ml, and the Siri equation estimates 12.7% fat instead of his actual fatness, 16.2%.  However, five litters is an extreme change in hydration.  A useful rule of thumb resulting from these calculations is that a one litter shift in hydration changes dffm  by about .002g/ml.  This in turn corresponds to a change in fatness of about 0.7%.  Thus, small shifts in hydration have only a small effect, and are not a serious source of error in fat estimation when compared to the effects of normal variability in fat-free bone density.

Level III Methods

Because of its central position in body composition analysis, densitometry has been analyzed in detail.  However, it is pertinent to appreciate that the three methods just discussed, total body water, whole-body counting and densitometry, all make quantitative assumptions about the constancy of the FFM in order to estimate fatness.  Because of this they are classified as indirect methods.  There is a further category of methods, level III, that includes common techniques such as anthropometry and bioelectrical impedance.  The distinguishing feature of these methods is that they are calibrated against one of the indirect methods, almost always densitometry, and hence are doubly indirect.  The usual procedure is as follows.  A set of skinfold measurements is taken on a group of subjects.  All are then weighed underwater, lung residual volumes are determined, and percent fat is calculated from body density.  Then a regression equation relating percent fat (dependent variable) and a sum of skinfold thicknesses (independent variable) is generated.  This equation may now be used to estimate percent fat in other subjects who have only had skinfold measurements made.  Some equations use body density as the dependent variable and percent fat is calculated subsequently.  This is the basic principle behind all equations for fat estimation from skinfolds.  These equations differ in the choice of number and location of the sites of skinfold measurements, and the type of equation (linear, quadratic etc.).  More importantly, they also differ in the characteristics of their subject population (e.g. gender, age, athletic or health status etc.).  Because the relationship between a sum of skinfold

thicknesses and body density (or percent fat) changes across subject groups there is a large number of equations in the literature for estimating percent fat or body density from skinfolds.

The popularity of fat estimation by bioelectrical impedance analysis (BIA) is due largely to its reliability (repeated measures on the same subject show little scatter) and ease of use (7).  Like anthropometry, impedance values must be calibrated against densitometrically-determined percent fat.  The procedure is similar; impedance and percent fat from body density are measured in a group of subjects.  Though electrical impedance is made up of two components, resistance and reactance, the reactive component is not related to body fatness and is therefore not used in prediction equations.  Even the resistance explains only a small part of the variation in fatness and so researchers generating estimation equations incorporate extra variables, typically height and age, to improve the predictive power.  The resulting regression equation is then built into a simple computer program.  Unfortunately, few users know these equations or the nature of the subjects from which they were generated.  Ignorance of this has led some researchers to "validate" BIA against densitometry!

Several other techniques are calibrated against densitometry.  The TOBEC method (total body electrical conductivity) uses a large coil through which an alternating current is passed.   The subject is then put into the coil and small currents are induced in the body fluids.  These currents create an electromagnetic field which then feeds back on and alters the current flowing through the

coil.  The changes in the current, along with other selected variables such as height, age and body mass, can then be regressed against densitometrically-determined percent fat to produce an estimation equation (13).

Anthropometry, bioelectrical impedance, TOBEC and other methods such as infra-red interactance, are thus similar in that they are all based on regression equations that are calibrated against densitometry, hence their categorization under level III.  Since the potential error in densitometry appears to be large, all methods calibrated against densitometry are also subject to this same large error.

Methods For Estimating Muscle

All of the preceding discussion has involved the two-component chemical model, i.e. the partition of the body into a fat mass and a FFM.  Since Matiegka's pioneering work, few models have been developed to estimate the masses of adipose tissue, muscle and bone in the body.  This is unfortunate since these tissues are more appropriate than fat and FFM in many situations, such as investigating the relation between body composition and athletic performance.  Measures of percent fat are poor discriminators of elite athletes since most are very lean.  At the elite level, gymnasts, sprinters, jumpers, distance runners and a variety of other athletes are all quite similar in percent fat.  What distinguishes them more clearly is muscle mass, which is also better related to many types of performance than percent fat.

Very rough estimates of muscle mass can be made by measuring urinary excretion of products of muscle catabolism, such as creatinine and 3-methyl histidine (6).  These methods require the assumption that a given mass of muscle gives rise to a fixed daily amount of the chosen by-product.  As with the methods for fat estimation, this quantity is not constant and its range of values is not well-defined.  Such methods provide only a very approximate estimate of muscle mass.  Indices of muscularity, such as limb muscle girths, have been used in nutritional assessment but do not, themselves, give muscle mass.  The first validated equation for estimating muscle mass was derived from our cadaver data (10), and used skinfold-corrected limb girths (forearm, mid-thigh and maximum calf) along with stature.  Though this is based on older males, the equation may be useful for younger men (17).

Imaging Techniques

Computed Tomography And Magnetic Resonance Imaging

Medical imaging techniques such as computed tomography (CT) and magnetic resonance imaging (MRI) yield an image (scan) of a plane perpendicular to the long axis of the body (or a limb).  Image resolution is adequate for distinguishing adipose tissue, muscle, bone and organs, with MRI providing the better images (14).  Since the densities of these tissues fall into well-defined ranges, imaging software can rapidly calculate the area of a given tissue in a particular scan by counting pixels (the

smallest units of area in the scan) which have densities in that range.  A single scan cannot give the total amount of any tissue in the body; since, like a single skinfold thickness, it is simply an index of adiposity or muscularity in a particular region.  However, data from a series of adjacent scans can be used to estimate tissue volumes.  This has proved particularly useful in assessing intra-abdominal adipose tissue (3).  Whole body tissue volumes can be estimated from a series of scans spanning the length of the body, but this is not feasible in most circumstances because of the high exposure to radiation (in the case of CT) and the considerable cost.

It has been suggested that MRI could be a criterion method against which other less direct methods of measuring body fatness would be 'validated'.  However, since imaging techniques yield anatomical components, adipose tissue volume obtained in this way is not equivalent to measures of fat derived from the chemical model (e.g., underwater weighing).  Their interconversion requires two important assumptions (8).  The first is the conversion from adipose tissue volume to adipose lipid mass.  These two are related as follows:

Adipose Lipid Mass = Adipose Tissue Volume X Adipose Tissue Density X Adipose Lipid Fraction.

The normal physiological ranges are adipose tissue density: 0.91 – 0.98 g/ml and lipid fraction: 0.5–0.9.  Thus the conversion of adipose tissue volume to adipose lipid mass requires a factor

that varies over the range of their product: about 0.5 to 0.8g/ml.  Such variation cannot be ignored and therefore any successful conversion requires a good estimate of the actual value of this factor.  Though there are no in vivo methods for estimating either adipose tissue density or adipose lipid fraction, these values are closely related to the overall level of body fatness with the high adipose tissue density and low lipid fraction occurring in the leanest individuals and the low adipose tissue density and high lipid fraction occurring in the fattest individuals.  Preliminary data in older men suggest that it may be possible to estimate lipid fraction from overall body fatness, but this remains to be confirmed in other subjects.  The second source of error in using MRI to calibrate total body fat is that after adipose lipid has been estimated, all non-adipose lipid (a quantity that appears to be quite variable and very difficult to estimate) must be added to get total body fat.

Thus the current uncertainty in these two issues probably rules out the use of MRI to calibrate total body fat.  However, since the clinical implications of non-adipose lipid are minimal, the variables of interest are adipose tissue mass and adipose lipid mass, thus obviating the need to estimate non-adipose lipid.  This still requires knowledge of adipose tissue density and adipose lipid fraction.  As indicated previously, it may be possible to estimate these from some measure of total body adiposity.

In summary, imaging methods such as CT and MRI, are useful as indices of tissue masses, and for directly estimating

regional tissue volumes, but cannot currently be used to validate chemical estimates of body fat.

Dual-Energy X-Ray Absorptiometry

The most recent body composition method that falls loosely into the category of imaging techniques is dual-energy X-ray absorptiometry, usually referred to as DEXA.  While the predominant use of DEXA is for estimating bone mineral content and density, its use for estimating the masses of fat and lean tissue is increasing and it is being put forward by some as the best criterion method to replace densitometry.  The method is based on changes in the attenuation of an X-ray beam that moves in a rectilinear fashion over the whole body.  The attenuation changes are due to differing proportions of fat, lean and bone tissues.  Because of the dual energy nature of the beam the mass of each of two components can be estimated.  If the scan is over a bony region, then bone mineral and soft tissue can be estimated, and if the scan is over a region consisting only of soft tissue, then two components of soft tissue, fat and lean, can be estimated (12).  By assuming that the ratio of fat to lean tissue is the same for soft tissue overlying bone as it is in the regions free of bone, then separate total body fat and lean estimates can be made .

While DEXA is still under investigation as a means of estimating body composition, initial findings are promising.  The sum of the estimated bone mineral, lean and fat components has been shown in several studies to be within 1-2% of actual

body mass.  Validation against excised animal tissues has also shown good agreement with chemical analysis.  Though the instrument is expensive (about $100,000) its use for both bone densitometry and body composition analysis make it useful in a clinical setting.

Conclusions

With few exceptions, techniques for the estimation of body composition have not been validated in humans, resulting in errors that are difficult to detect.  Even if a conservative estimate of 0.01 g/ml for the standard deviation of dffm is assumed, the error resulting form the assumption of 1.100 g/ml for dffm instead of 1.110 g/ml or 1.090 g/ml is unacceptably large.  The dependence of most indirect methods on densitometry makes these methods vulnerable to errors resulting from normal variability in the fat-free density.  Even if a validated technique for % body fat were available, there is good reason for rethinking the nature of the basic model that is used most frequently in body composition analysis.  Since the chemical approach combines all the body's lipid, it is particularly unsuited to studies of athletes whose adipose fat mass may well be less than their non-adipose fat mass.  In view of our ignorance of the amount of 'essential' fat it is difficult to interpret a low percent fat value.  Additionally, after percent fat is calculated, the estimation of muscle cannot be added as another component since it incorporates some of the fat already in the

percent fat figure, i.e. the chemical and anatomical models cannot be mixed.  It is more useful to move towards an anatomical partition giving adipose tissue mass, muscle mass and skeletal mass.  Imaging techniques are able to do this along with techniques such as anthropometry.  Even with such a shift, validation is still the most important concern facing the field of body composition.  Behnke's words of more than thirty years ago still ring true: 'We have all the techniques, where are the facts?'.

References

1. Bakker, H. K. and R. S. Struikenkamp. Biological variability and lean body mass estimates. Hum. Biol. 53:181-225, 1977.

2. Behnke, A. R., B. G. Feen and W. C. Welham. The specific gravity of healthy men. J. Am. Med. Assoc. 118:495-498, 1942.

3. Borkan, G. A., D. E. Hults, S. G. Gerzof, A. H. Robbins and C. K. Silbert. Age changes in body composition revealed by computed tomography. J. Gerontol. 38:673-77, 1983.

4. Clarys, J. P., A. D. Martin and D. T. Drinkwater. Gross tissue weights in the human body by cadaver dissection. Hum. Biol. 56:459-473, 1984.

5. Forbes, G. B. Human Body Composition: Growth, Aging, Nutrition And Activity.  New York: Springer-Verlag, 1987, p. 37.

6. Heymsfield, S. B., C. Atreaga, C. McManus, J. Smith and S. Moffitt. Measurement of muscle mass in humans: validity of the 24 hour urinary creatinine method. Am. J. Clin. Nutr. 37:478-494, 1983.

7. Lukaski, H. C. Methods for the assessment of human body composition: traditional and new. Am. J. Clin. Nutr. 46:537-56, 1987.

8. Martin, A. D., M. Z. Daniel, D. T. Drinkwater and J. P. Clarys. Adipose tissue density, estimated lipid fraction and whole body adiposity in male cadavers. Int. J. Obesity (in press)1993.

9. Martin, A. D. and D. T. Drinkwater. Variability in the measures of body fat: assumptions or technique? Sports Med. 11:277-288, 1991.

10. Martin, A. D., L. F. Spenst, D. T. Drinkwater and J. P. Clarys. Anthropometric estimation of muscle mass in men. Med. Sci. Sports Exer. 22:729-733, 1990.

11. Matiegka, J. The testing of physical efficiency. Am. J. Phys. Anthrop. 4:223-230, 1921.

12. Mazess, R. B., H. S. Barden, J. P. Bisek and J. Hansen. Dual-energy X-ray absorptiometry for total-body and regional bone mineral and soft tissue composition. Am. J. Clin. Nutr. 51:1106-1112, 1990.

13. Presta, E., K. R. Seagal, B. Gutin, G. G. Harrison and T. B. van Itallie. Comparison in man of total body electrical conductivity and lean body mass derived from body density: validation of a new body composition method. Metab. 32:735-739, 1983.

14. Ross, R., L. Leger, R. Guardo, J. De Guise and B. Pike. Adipose tissue volume measured by magnetic resonance imaging and computerized tomography in rats. J. Appl. Physiol. 70:2164-2172, 1991.

15. Sheng, H.-P. and R. A. Huggins. A review of body composition studies with emphasis on total body water and fat. Am. J. Clin. Nutr. 32:630-647, 1979.

16. Siri, W. E.  Body composition from fluid space and density: analysis of methods. In: Techniques for Measuring Body

Composition, J. Brozek and A. Henschel (Eds.).  Washington, D.C.: National Academy of Sciences,1961, pp. 223-244.

17. Spenst, L. F., A. D. Martin and D. T. Drinkwater. Muscle mass of competitive male athletes. J. Sports Sci. 11:3-8, 1993.

18. Spivak, C. D. The specific gravity of the human body. Arch. Int. Med. 15:628-642, 1915.

19. Womersley, J., J. Durnin, K. Boddy and M. Mahaffy. Influence of muscular development, obesity and age on the fat-free mass of adults. J. Appl. Physiol. 41:223-229, 1976.

Table 1:   Effect of different fat-free densities (dffm in g/ml) on percent fat estimates for several values of whole body density (D in g/ml).

| dffm | D=1.04 | D=1.06 | D=1.08 |
| --- | --- | --- | --- |

| 1.132 | 34.3 | 26.4 | 18.7 |
| --- | --- | --- | --- |

| 1.116 | 30.4 | 22.0 | 13.9 |
| --- | --- | --- | --- |

| 1.100 | 26.0 | 17.0 | 8.3 |
| --- | --- | --- | --- |

| 1.084 | 20.7 | 11.1 | 1.8 |
| --- | --- | --- | --- |

| 1.068 | 14.4 | 4.0 | -6.0 |
| --- | --- | --- | --- |